Safety Protocol Check List

□ Obtain laser key

□ Provide proper laser eyewear for all individuals within the Nominal Hazard Zone

□ Post Laser Warning signs on each entry door to treatment room

□ Close doors into treatment room

□ Windows covered or window blinds closed

□ Laser system start up and accessory delivery device check per manufacturer's

recommendations

□ Verify aiming beam presence

□ Laser system in "Standby" mode when not actively in use

□ Provide teeth protection when treating peri-oral areas

□ Confirm chill plate temperature with each use

□ Use smoke evacuator when laser procedure creates plume

□ Laser system shut down and care and cleaning of accessories per manufacturer’s

recommendations

□ Remove laser key from laser's ignition and store in approved location